Chemistry 11 		Spectrophotometry Lab

Purpose:	To use spectrophotometry to determine the molarity of a CuSO4 solution.

Procedure:

1. Rinse a burette with three 5 mL increments of 0.100 M CuSO4. Fill to zero. Make sure that there are no air bubbles in the stopcock. Rinse a second burette with distilled water. Fill to zero. Make sure that there are no air bubbles in the stopcock.

2. Get three clean and dry 40 mL beakers from the side of the room. Prepare the 3 standard solutions in these vials by diluting a 0.100 M standard with distilled water:  Add the amounts of distilled water and 0.100 M CuSO4 that are indicated in the table below.

3. Place a clean dry cuvette filled with distilled water in the spectrophotometer with the line on the cuvette facing forward. Do not handle the cuvette from the bottom! Wipe the bottom of the cuvette with a Kim Wipe. Make sure that there are no air bubbles in the cuvette. If there are bubbles tap the cuvette lightly on the countertop to disperse them. Close the lid. Press the zero button to set to the machine to zero. If the machine shows 100 %, press the Abs/Trans button to change it to zero.

4. Rinse a second cuvette 3X with solution 2. Make sure it is clean, dry, and free of air bubbles. Place it in the spectrophotometer with the line facing forward. Close the lid and record the absorbance in the table below. Repeat for solutions 3, 4, 5 and the unknown solution. Record the letter of the unknown solution.

5. On the graph paper provided, plot absorbance versus molarity (Beer’s Law) in order to establish the relationship between them. Using a 30 cm ruler, draw the best straight line through the points. Use the line to convert the absorbance of the unknown CuSO4 to a molarity.

6. Hand in the graph with the concentration of the unknown clearly indicated.

Data:

Volume of  0.100 M 	Volume of water	Total Volume	       Molarity	  	Absorb

CuSO4  (mL)			(mL)			(mL)

1. Distilled water	 Distilled water     Use distilled water        	0.00

2.     5.0   		15.0

3.    10.0  		10.0

4.   15.0  		5.0

5.  Unknown Letter

Calculation of the Molarity of the Solution 2, 3, and 4.  (Show some work!)

1.	Put a title on the graph paper provide: Absorbance versus [CuSO4] at 670 nm and 220 C

2.	Label the y-axis Absorbance and the x-axis [CuSO4] (M). There are no units for 	absorbance.

3.	Make a scale that includes all of your absorbance measurements and uses at least half of 	the scale.

3.	Make a scale that includes all of your molarities and uses at least half of the scale.

4.	Plot the four point on your graph, distilled water (0,0) and three others.

5.	Draw the best fit straight line through your data so that the line goes through the center of 	the data.

6.	Use the line to determine the molarity of the unknown CuSO4 solution. Draw a 	horizontal line across from the absorbance to line and then a vertical one down to the 	concentration. Record the concentration below and hand the graph in.

Unknown

Concentration